|  | Questions are followed by answer fields. Use the ‘Tab’ key to navigate through. Replace Y/N or Yes/No fields with your answer. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| GD-CS-016G |  |  |  |  |  |  |  |
| This checklist is intended for use by DLI staff and contractors. This checklist should be read in conjunction with the departments GD-CS-016 Street Lighting Guideline. Further information is available from assetinformation.dli@nt.gov.au |  |  |  |  |  |  |  |
| Luminaire Details |  |  |  |  |  |  |  |
| Date of Inspection |  |  |  |  |  | Type of Luminaire |  |
| Road Name |  |  |  |  |  | Pole Number |  |
| Inspector Name |  |  |  |  |  | Phone |  |
| Part 1 - Inspection Checklist |  |  |  |  |  |  |  |
| Electrical Checks |  |  | Yes | No | Comments |  |  |
| The luminaire works as intended |  |  | ☐ | ☐ |  |  |  |
| Control Box works as intended |  |  | ☐ | ☐ |  |  |  |
| PE Cell operates as intended |  |  | ☐ | ☐ |  |  |  |
| Fuses / Circuit breaker operates as intended |  |  | ☐ | ☐ |  |  |  |
| Cable insulation reading are as per AS/NZS 3000 |  |  | ☐ | ☐ |  |  |  |
| Cable continuity are as per AS/NZS 3000 |  |  | ☐ | ☐ |  |  |  |
| Voltage levels are as per AS/NZS 3000 |  |  | ☐ | ☐ |  |  |  |
| Timer operates as intended |  |  | ☐ | ☐ |  |  |  |
| All terminals / connected to be loosen, then tighten, ensuring not to overtighten |  |  | ☐ | ☐ |  |  |  |

| Visible Checks | Yes | No | Comments |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Any signs of heat damage | ☐ | ☐ |  |  |  |  |
| Any signs of moisture penetration | ☐ | ☐ |  |  |  |  |
| Any signs of structural damage | ☐ | ☐ |  |  |  |  |
| Any signs of corrosion | ☐ | ☐ |  |  |  |  |
| Any signs of pollution damage | ☐ | ☐ |  |  |  |  |
| Any signs of salt contamination | ☐ | ☐ |  |  |  |  |
| Any signs of flora penetrations, looking at the surrounding environment and the streetlight | ☐ | ☐ |  |  |  |  |
| Any sings of fauna penetration, especially termites, looking at the surrounding environment and the streetlight | ☐ | ☐ |  |  |  |  |
| Photoelectric (PE) Cell present | ☐ | ☐ |  |  |  |  |
| Any visible damage to the luminaire | ☐ | ☐ |  |  |  |  |
| Any visible damage to the diffuser | ☐ | ☐ |  |  |  |  |
| Streetlight Control box – Any visible damage | ☐ | ☐ |  |  |  |  |
| Any visible damage to the cables | ☐ | ☐ |  |  |  |  |
| Continuous double insulation of cables from point of termination to point of termination | ☐ | ☐ |  |  |  |  |
| Pole installation as per design | ☐ | ☐ |  |  |  |  |
| Any visible damage to PE Cell | ☐ | ☐ |  |  |  |  |
| Part 2 – Inspection Outcome |  |  |  |  |  |  |
| Repairs Required |  |  |  |  |  |  |
| Are any repairs required If yes, provide details of supplier and date of installation: |  |  |  |  | YES | NO |
| Expected date to be repaired |  |  |  |  |  |  |
| Repairs Complete |  |  |  |  |  |  |
| Date Luminaire has been repaired |  |  |  |  |  |  |
| Name of person confirming Luminaire has been repaired |  |  |  |  |  |  |
| End of form |  |  |  |  |  |  |