| This application should be read in conjunction with the departments GD-CS-016 Street Lighting Guideline. Completed applications should be sent to assetinformation.dli@nt.gov.au |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Vendor Details |  |  |  |  |  |  |  |
| Vendor |  |  |  |  |  |  |  |
| Vendor Contact |  |  |  |  | Phone |  |  |
| Control Gear Details |  |  |  |  |  |  |  |
| Control Gear Type |  |  |  |  |  |  |  |
| Installation Location |  |  |  |  |  |  |  |
| Control Gear Details Datasheet |  | Yes | No | Comments |  |  |  |
| Does the control gear comply with AS/NZS 61347.2 series? |  | ☐ | ☐ |  |  |  |  |
| Is the temperature rating compliant to AS/NZS 1158.6:2015 Section 5.6? |  | ☐ | ☐ |  |  |  |  |
| Is the power factor ≥ 0.85? (Must not be ≤ 0.85) |  | ☐ | ☐ |  |  |  |  |
| Are immunity levels compliant to IEC 61547? |  | ☐ | ☐ |  |  |  |  |
| Lamp operating stable? |  | ☐ | ☐ |  |  |  |  |
| Electromagnetic emissions? |  | ☐ | ☐ |  |  |  |  |
| Morality curve? |  | ☐ | ☐ |  |  |  |  |
| Magnetic ballasts? Rating 250V, 50Hz |  | ☐ | ☐ |  |  |  |  |
| Electronic ballasts? Rating 240V, 50Hz |  | ☐ | ☐ |  |  |  |  |
| Is ignitors compliant with AS/NZS 61347.2.1 and AS/NZS 60927? |  | ☐ | ☐ |  |  |  |  |
| Ignitors encapsulated? |  | ☐ | ☐ |  |  |  |  |
| Authorised Officer Details |  |  |  |  |  |  |  |
| Authorised Officer |  |  |  |  |  |  |  |
| Email |  |  |  |  | Phone |  |  |
| Signature |  |  |  |  | Date |  |  |
| Vendor Signature |  |  |  |  |  |  |  |
| Vendor Contact |  |  |  |  |  |  |  |
| Signature |  |  |  |  | Date* |  |  |
| Internal use only - Assessing officer. Recommended or not recommended. Name; Position. Signature; Date. Delegate. Approved or not approved. Signature; Date. Organisation advised; Yes / No; Date. |
| End of for |  |  |  |  |  |  |  |